## CivilOS Standards - Layers
Category | Layer_Name | Color_RGB | Color_Name | Description | Detail_Series | Primary_Abbreviations | Notes
Topography | E-GRAD-CONTOUR-MAJOR | 255255 | Cyan | Major contour lines (5' or 10' interval) | DET-GRAD-355 | CONTOUR, MAJOR, EL, ELEV | Existing major contours
Topography | E-GRAD-CONTOUR-MINOR | 100200255 | Light Blue | Minor contour lines (1' or 2' interval) | DET-GRAD-355 | CONTOUR, MINOR, EL, ELEV | Existing minor contours
Topography | E-GRAD-SPOT-ELEV | 176224230 | Powder Blue | Spot elevation points | DET-GRAD-355 | SPOT ELEV, EL, EG | Existing grade elevations
Topography | E-GRAD-BREAKLINE | 191255 | Deep Sky Blue | Surface breaklines | DET-GRAD-355 | BREAKLINE, GR | Surface discontinuities
Topography | E-GRAD-RIDGE | 191255 | Deep Sky Blue | Ridge lines | DET-GRAD-355 | RIDGE, GR | Drainage ridge lines
Topography | E-GRAD-VALLEY | 191255 | Deep Sky Blue | Valley lines | DET-GRAD-355 | VALLEY, GR | Drainage valley lines
Topography | E-GRAD-NATGRADE | 100200255 | Light Blue | Existing natural grade | DET-GRAD-355 | NAT GR, EG | Natural existing grade
Topography | E-GRAD-EDGE-PAVEMENT | 191255 | Deep Sky Blue | Edge of pavement | DET-PAVE-835 | EDG, PVMT, EG | Edge of existing pavement
Topography | E-GRAD-EDGE-SHOULDER | 100200255 | Light Blue | Edge of shoulder | DET-PAVE-835 | EDG, SHLDR, EG | Edge of shoulder
Topography | E-GRAD-WATER-EDGE | 255255 | Cyan | Edge of water bodies | DET-GRAD-355 | WATER, EDG, EG | Edge of water bodies
Topography | E-GRAD-STREAM | 255255 | Cyan | Streams/creeks | DET-STRM-170 | STREAM, WATER | Streams/creeks
Topography | E-GRAD-WETLAND | 64224208 | Turquoise | Wetland boundaries | DET-GRAD-355 | WETLAND, BNDRY | Wetland boundaries
Survey | E-SURV-BENCHMARK | 138,43,226 | Blue Violet | Survey benchmarks (vertical control) | DET-GRAD-355 | BM, ELEV, VERT | Vertical control monuments
Survey | E-SURV-CONTROL-HORIZ | 138,43,226 | Blue Violet | Horizontal control monuments | DET-GRAD-355 | HORIZ, CONTROL, MON | Horizontal control
Survey | E-SURV-CONTROL-VERT | 138,43,226 | Blue Violet | Vertical control points | DET-GRAD-355 | VERT, CONTROL, BM | Vertical control points
Survey | E-SURV-GPS | 138,43,226 | Blue Violet | GPS control points | DET-GRAD-355 | GPS, CONTROL | GPS control stations
Survey | E-SURV-CONTROL-POINT | 138,43,226 | Blue Violet | General control points | DET-GRAD-355 | CONTROL PT, MON | General control points
Survey | E-SURV-TRAVERSE | 100200255 | Light Blue | Traverse lines | DET-GRAD-355 | TRAVERSE, LINE | Survey traverse lines
Survey | E-SURV-PROPERTY-LINE | 138,43,226 | Blue Violet | Property boundaries | DET-GRAD-355 | PROP LINE, BNDRY | Property boundaries
Survey | E-SURV-LEGAL | 147112219 | Medium Purple | Legal description elements | DET-GRAD-355 | LEGAL, BNDRY | Legal description elements
Survey | E-SURV-DEED | 147112219 | Medium Purple | Deed dimensions | DET-GRAD-355 | DEED, DIM | Deed dimensions
Survey | E-SURV-EASEMENT | 147112219 | Medium Purple | Easement lines | DET-GRAD-355 | EASEMENT, BNDRY | Easement boundaries
Survey | E-SURV-ROW | 147112219 | Medium Purple | Right-of-way lines | DET-GRAD-355 | ROW, BNDRY | Right-of-way lines
Survey | E-SURV-CENTERLINE | 100200255 | Light Blue | Road/street centerlines | DET-GRAD-355 | ℄, CL, EXIST | Road centerlines (use symbol)
Survey | E-SURV-BEARINGS | 176224230 | Powder Blue | Bearing annotations | DET-GRAD-355 | BRG, BEARING | Survey bearings
Survey | E-SURV-DISTANCES | 176224230 | Powder Blue | Distance annotations | DET-GRAD-355 | DIST, DIM | Survey distances
Survey | E-SURV-FENCE | 123104238 | Medium Slate Blue | Existing fences | DET-SITE-530 | FNC, EXIST | Existing fences
Survey | E-SURV-WALL | 123104238 | Medium Slate Blue | Existing walls | DET-GRAD-410 | WALL, EXIST | Existing walls
Grading | P-GRAD-CONTOUR-MAJOR | 255,255,0 | Yellow | Proposed major contours | DET-GRAD-360 | CONTOUR, MAJOR, EL, ELEV | Proposed 5'/10' contours
Grading | P-GRAD-CONTOUR-MINOR | 255200100 | Light Orange | Proposed minor contours | DET-GRAD-360 | CONTOUR, MINOR, EL, ELEV | Proposed 1'/2' contours
Grading | P-GRAD-SPOT-ELEV | 255228181 | Moccasin | Proposed spot elevations | DET-GRAD-360 | SPOT ELEV, EL, FG | Proposed spot elevations
Grading | P-GRAD-FINGRADE | 255200100 | Light Orange | Finished grade elevations | DET-GRAD-360 | FIN GR, FG, ELEV | Finished grade elevations
Grading | P-GRAD-BREAKLINE | 255,140,0 | Dark Orange | Proposed breaklines | DET-GRAD-360 | BREAKLINE, GR | Proposed breaklines
Grading | P-GRAD-RIDGE | 255,140,0 | Dark Orange | Proposed ridge lines | DET-GRAD-360 | RIDGE, GR | Proposed ridge lines
Grading | P-GRAD-VALLEY | 255,140,0 | Dark Orange | Proposed valley lines | DET-GRAD-360 | VALLEY, GR | Proposed valley lines
Grading | P-GRAD-SWALE-SURFACE | 255,215,0 | Gold | Surface swales | DET-GRAD-420 | SWALE, SURF, DRNAG | Surface drainage swales
Grading | P-GRAD-SWALE-UNDERGROUND | 255,165,0 | Orange | Underground swales | DET-GRAD-420 | SWALE, UG, DRNAG | Subsurface swales
Grading | P-GRAD-SLOPE-LIMIT | 255,140,0 | Dark Orange | Limits of grading | DET-GRAD-370 | SLP, LIMIT, GRDG | Limits of grading work
Grading | P-GRAD-CUT | 255,99,71 | Tomato | Cut areas | DET-GRAD-390 | CUT, EXC | Cut/excavation areas
Grading | P-GRAD-FILL | 255,140,0 | Dark Orange | Fill areas | DET-GRAD-400 | FILL, EMBANK | Fill/embankment areas
Grading | P-GRAD-BORROW | 255200100 | Light Orange | Borrow areas | DET-GRAD-400 | BORR, FILL | Borrow material areas
Grading | P-GRAD-STOCKPILE | 255200100 | Light Orange | Stockpile areas | DET-GRAD-400 | STOCKPILE, MATERIAL | Stockpile locations
Grading | P-GRAD-EROSION-CONTROL | 255,215,0 | Gold | Erosion control measures | DET-GRAD-430 | EROS CTRL, TEMP | Erosion control measures
Grading | P-GRAD-RETWALL | 255,99,71 | Tomato | Retaining walls | DET-GRAD-410 | RET WALL, WALL | Retaining walls
Grading | P-GRAD-SLOPE | 255,140,0 | Dark Orange | Slope indicators/arrows | DET-GRAD-380 | SLP, RATIO, GRADE | Slope indicators/arrows
Storm Drainage | E-STRM-PIPE | 147112219 | Medium Purple | Storm drain pipes (general) | DET-STRM-110 | SD, PIPE, EXIST | Storm drain pipes (general)
Storm Drainage | E-STRM-PIPE-6IN | 147112219 | Medium Purple | 6" storm pipes | DET-STRM-110 | 6" SD, PIPE | 6-inch storm pipes
Storm Drainage | E-STRM-PIPE-8IN | 147112219 | Medium Purple | 8" storm pipes | DET-STRM-110 | 8" SD, PIPE | 8-inch storm pipes
Storm Drainage | E-STRM-PIPE-12IN | 147112219 | Medium Purple | 12" storm pipes | DET-STRM-110 | 12" SD, PIPE | 12-inch storm pipes
Storm Drainage | E-STRM-PIPE-15IN | 147112219 | Medium Purple | 15" storm pipes | DET-STRM-110 | 15" SD, PIPE | 15-inch storm pipes
Storm Drainage | E-STRM-PIPE-18IN | 147112219 | Medium Purple | 18" storm pipes | DET-STRM-110 | 18" SD, PIPE | 18-inch storm pipes
Storm Drainage | E-STRM-PIPE-24IN | 147112219 | Medium Purple | 24" storm pipes | DET-STRM-110 | 24" SD, PIPE | 24-inch storm pipes
Storm Drainage | E-STRM-PIPE-30IN | 147112219 | Medium Purple | 30" storm pipes | DET-STRM-110 | 30" SD, PIPE | 30-inch storm pipes
Storm Drainage | E-STRM-PIPE-36IN | 147112219 | Medium Purple | 36" storm pipes | DET-STRM-110 | 36" SD, PIPE | 36-inch storm pipes
Storm Drainage | E-STRM-MH | 138,43,226 | Blue Violet | Storm manholes | DET-STRM-130 | MH, SDMH, EXIST | Storm manholes
Storm Drainage | E-STRM-INLET | 138,43,226 | Blue Violet | Storm inlets | DET-STRM-140 | INL, EXIST | Storm inlets (general)
Storm Drainage | E-STRM-CB | 138,43,226 | Blue Violet | Catch basins | DET-STRM-120 | CB, EXIST | Catch basins
Storm Drainage | E-STRM-DRAINAGEBOX | 138,43,226 | Blue Violet | Drainage boxes | DET-STRM-150 | DRNAG BOX, JB | Drainage boxes
Storm Drainage | E-STRM-CLEANOUT | 147112219 | Medium Purple | Cleanouts | DET-STRM-110 | CO, CLNOUT | Storm cleanouts
Storm Drainage | E-STRM-OUTFALL | 255255 | Cyan | Outfall structures | DET-STRM-110 | OUTFALL, OUT | Outfall structures
Storm Drainage | E-STRM-CULVERT | 147112219 | Medium Purple | Culverts | DET-STRM-110 | CLVT, PIPE | Culverts
Storm Drainage | E-STRM-HEADWALL | 123104238 | Medium Slate Blue | Headwalls | DET-STRM-110 | HW, WALL | Culvert headwalls
Storm Drainage | E-STRM-ENDWALL | 123104238 | Medium Slate Blue | Endwalls | DET-STRM-110 | ENDWALL, WALL | Culvert endwalls
Storm Drainage | E-STRM-DETENTION | 255255 | Cyan | Detention basins | DET-STRM-180 | DET BSN, POND | Detention basins
Storm Drainage | E-STRM-RETENTION | 255255 | Cyan | Retention basins | DET-STRM-180 | RETN BSN, POND | Retention basins
Storm Drainage | E-STRM-SWALE | 64224208 | Turquoise | Drainage swales | DET-STRM-170 | SWALE, CHAN | Drainage swales
Storm Drainage | E-STRM-DITCH | 64224208 | Turquoise | Drainage ditches | DET-STRM-170 | DTH, DITCH | Drainage ditches
Storm Drainage | E-STRM-CHANNEL | 255255 | Cyan | Drainage channels | DET-STRM-170 | CHAN, CH | Drainage channels
Storm Drainage | P-STRM-PIPE | 255,20,147 | Deep Pink | Storm drain pipes (general) | DET-STRM-110 | SD, PIPE, PROP | Storm drain pipes (general)
Storm Drainage | P-STRM-PIPE-6IN | 255,20,147 | Deep Pink | 6" storm pipes | DET-STRM-110 | 6" SD, RCP, PVC | 6-inch pipes
Storm Drainage | P-STRM-PIPE-8IN | 255,20,147 | Deep Pink | 8" storm pipes | DET-STRM-110 | 8" SD, RCP, PVC | 8-inch pipes
Storm Drainage | P-STRM-PIPE-12IN | 255,20,147 | Deep Pink | 12" storm pipes | DET-STRM-110 | 12" SD, RCP, HDPE | 12-inch pipes
Storm Drainage | P-STRM-PIPE-15IN | 255,20,147 | Deep Pink | 15" storm pipes | DET-STRM-110 | 15" SD, RCP, HDPE | 15-inch pipes
Storm Drainage | P-STRM-PIPE-18IN | 255,20,147 | Deep Pink | 18" storm pipes | DET-STRM-110 | 18" SD, RCP, HDPE | 18-inch pipes
Storm Drainage | P-STRM-PIPE-24IN | 255,20,147 | Deep Pink | 24" storm pipes | DET-STRM-110 | 24" SD, RCP, HDPE | 24-inch pipes
Storm Drainage | P-STRM-PIPE-30IN | 255,20,147 | Deep Pink | 30" storm pipes | DET-STRM-110 | 30" SD, RCP, HDPE | 30-inch pipes
Storm Drainage | P-STRM-PIPE-36IN | 255,20,147 | Deep Pink | 36" storm pipes | DET-STRM-110 | 36" SD, RCP, HDPE | 36-inch pipes
Storm Drainage | P-STRM-PIPE-42IN | 255,20,147 | Deep Pink | 42" storm pipes | DET-STRM-110 | 42" SD, RCP, HDPE | 42-inch pipes
Storm Drainage | P-STRM-PIPE-48IN | 255,20,147 | Deep Pink | 48" storm pipes | DET-STRM-110 | 48" SD, RCP, HDPE | 48-inch pipes
Storm Drainage | P-STRM-PIPE-54IN | 255,20,147 | Deep Pink | 54" storm pipes | DET-STRM-110 | 54" SD, RCP | 54-inch pipes
Storm Drainage | P-STRM-PIPE-60IN | 255,20,147 | Deep Pink | 60" storm pipes | DET-STRM-110 | 60" SD, RCP | 60-inch pipes
Storm Drainage | P-STRM-MH | 255105180 | Hot Pink | Storm manholes | DET-STRM-130 | MH, SDMH, PROP | Storm manholes
Storm Drainage | P-STRM-INLET | 255105180 | Hot Pink | Storm inlets (general) | DET-STRM-140 | INL, PROP | Storm inlets (general)
Storm Drainage | P-STRM-INLET-CURB | 255105180 | Hot Pink | Curb inlets | DET-STRM-140 | CI, INL | Curb inlets
Storm Drainage | P-STRM-INLET-AREA | 255105180 | Hot Pink | Area inlets | DET-STRM-160 | AI, AD | Area drains/inlets
Storm Drainage | P-STRM-CB | 255105180 | Hot Pink | Catch basins | DET-STRM-120 | CB, PROP | Catch basins
Storm Drainage | P-STRM-DRAINAGEBOX | 255105180 | Hot Pink | Drainage boxes | DET-STRM-150 | DRNAG BOX, JB | Drainage boxes
Storm Drainage | P-STRM-CLEANOUT | 255,20,147 | Deep Pink | Cleanouts | DET-STRM-110 | CO, CLNOUT | Storm cleanouts
Storm Drainage | P-STRM-OUTFALL | 255,215,0 | Gold | Outfall structures | DET-STRM-110 | OUTFALL, OUT | Outfall structures
Storm Drainage | P-STRM-CULVERT | 255,20,147 | Deep Pink | Culverts | DET-STRM-110 | CLVT, PIPE | Culverts
Storm Drainage | P-STRM-HEADWALL | 255,99,71 | Tomato | Headwalls | DET-STRM-110 | HW, WALL | Culvert headwalls
Storm Drainage | P-STRM-ENDWALL | 255,99,71 | Tomato | Endwalls | DET-STRM-110 | ENDWALL, WALL | Culvert endwalls
Storm Drainage | P-STRM-DETENTION | 255,215,0 | Gold | Detention basins | DET-STRM-180 | DET BSN, POND | Detention basins
Storm Drainage | P-STRM-RETENTION | 255,215,0 | Gold | Retention basins | DET-STRM-180 | RETN BSN, POND | Retention basins
Storm Drainage | P-STRM-BIORETENTION | 255,215,0 | Gold | Bioretention facilities (LID) | DET-STRM-180 | BIORET, LID | Bioretention facilities (LID)
Storm Drainage | P-STRM-SWALE | 255,215,0 | Gold | Drainage swales | DET-STRM-170 | SWALE, BIOSW | Drainage swales
Storm Drainage | P-STRM-DITCH | 255,215,0 | Gold | Drainage ditches | DET-STRM-170 | DTH, DITCH | Drainage ditches
Storm Drainage | P-STRM-CHANNEL | 255,215,0 | Gold | Drainage channels | DET-STRM-170 | CHAN, CH | Drainage channels
Storm Drainage | P-STRM-UNDERDRAIN | 255,20,147 | Deep Pink | Underdrains | DET-STRM-110 | UNDERDRN, DR | Underdrains
Storm Drainage | P-STRM-TRENCH-DRAIN | 255,20,147 | Deep Pink | Trench drains | DET-STRM-110 | TD, TRNCH DR | Trench drains
Storm Drainage | P-STRM-ROOF-DRAIN | 255,20,147 | Deep Pink | Roof drain connections | DET-STRM-160 | ROOF DR, DNSPOUT | Roof drain connections
Storm Drainage | P-STRM-FOOTING-DRAIN | 255,20,147 | Deep Pink | Footing drains | DET-STRM-160 | FTG DR, PERF | Footing drains
Water Utility | E-WATR-MAIN | 147112219 | Medium Purple | Water main (general) | DET-WATR-210 | WM, WATER, EXIST | Water main (general)
Water Utility | E-WATR-MAIN-2IN | 147112219 | Medium Purple | 2" water main | DET-WATR-210 | 2" WM, DIP | 2-inch water main
Water Utility | E-WATR-MAIN-4IN | 147112219 | Medium Purple | 4" water main | DET-WATR-210 | 4" WM, DIP | 4-inch water main
Water Utility | E-WATR-MAIN-6IN | 147112219 | Medium Purple | 6" water main | DET-WATR-210 | 6" WM, DIP | 6-inch water main
Water Utility | E-WATR-MAIN-8IN | 147112219 | Medium Purple | 8" water main | DET-WATR-210 | 8" WM, DIP | 8-inch water main
Water Utility | E-WATR-MAIN-10IN | 147112219 | Medium Purple | 10" water main | DET-WATR-210 | 10" WM, DIP | 10-inch water main
Water Utility | E-WATR-MAIN-12IN | 147112219 | Medium Purple | 12" water main | DET-WATR-210 | 12" WM, DIP | 12-inch water main
Water Utility | E-WATR-MAIN-16IN | 147112219 | Medium Purple | 16" water main | DET-WATR-210 | 16" WM, DIP | 16-inch water main
Water Utility | E-WATR-MAIN-20IN | 147112219 | Medium Purple | 20" water main | DET-WATR-210 | 20" WM, DIP | 20-inch water main
Water Utility | E-WATR-LATERAL | 147112219 | Medium Purple | Water service laterals | DET-WATR-240 | LAT, SVC, EXIST | Water service laterals
Water Utility | E-WATR-VALVE | 138,43,226 | Blue Violet | Water valves | DET-WATR-230 | GV, VLV, EXIST | Water valves
Water Utility | E-WATR-METER | 138,43,226 | Blue Violet | Water meters | DET-WATR-250 | MTR, MB, EXIST | Water meters
Water Utility | E-WATR-HYDRANT | 138,43,226 | Blue Violet | Fire hydrants | DET-WATR-220 | FH, HYD, EXIST | Fire hydrants
Water Utility | E-WATR-BACKFLOW | 138,43,226 | Blue Violet | Backflow preventers | DET-WATR-260 | BFP, EXIST | Backflow preventers
Water Utility | E-WATR-BLOW-OFF | 147112219 | Medium Purple | Blow-off valves | DET-WATR-230 | BO, VLV | Blow-off valves
Water Utility | E-WATR-AIR-RELEASE | 147112219 | Medium Purple | Air release valves | DET-WATR-230 | ARV, VLV | Air release valves
Water Utility | P-WATR-MAIN | 255,20,147 | Deep Pink | Water main (general) | DET-WATR-210 | WM, WATER, PROP | Water main (general)
Water Utility | P-WATR-MAIN-2IN | 255,20,147 | Deep Pink | 2" water main | DET-WATR-210 | 2" WM, DIP | 2-inch water main
Water Utility | P-WATR-MAIN-4IN | 255,20,147 | Deep Pink | 4" water main | DET-WATR-210 | 4" WM, DIP | 4-inch water main
Water Utility | P-WATR-MAIN-6IN | 255,20,147 | Deep Pink | 6" water main | DET-WATR-210 | 6" WM, DIP, HDPE | 6-inch water main
Water Utility | P-WATR-MAIN-8IN | 255,20,147 | Deep Pink | 8" water main | DET-WATR-210 | 8" WM, DIP, HDPE | 8-inch water main
Water Utility | P-WATR-MAIN-10IN | 255,20,147 | Deep Pink | 10" water main | DET-WATR-210 | 10" WM, DIP, HDPE | 10-inch water main
Water Utility | P-WATR-MAIN-12IN | 255,20,147 | Deep Pink | 12" water main | DET-WATR-210 | 12" WM, DIP, HDPE | 12-inch water main
Water Utility | P-WATR-MAIN-16IN | 255,20,147 | Deep Pink | 16" water main | DET-WATR-210 | 16" WM, DIP | 16-inch water main
Water Utility | P-WATR-MAIN-20IN | 255,20,147 | Deep Pink | 20" water main | DET-WATR-210 | 20" WM, DIP | 20-inch water main
Water Utility | P-WATR-LATERAL | 255,20,147 | Deep Pink | Water service laterals | DET-WATR-240 | LAT, SVC, PROP | Water service laterals
Water Utility | P-WATR-VALVE | 255105180 | Hot Pink | Water valves | DET-WATR-230 | GV, BV, VLV | Water valves
Water Utility | P-WATR-METER | 255105180 | Hot Pink | Water meters | DET-WATR-250 | MTR, MB, MV | Water meters
Water Utility | P-WATR-HYDRANT | 255105180 | Hot Pink | Fire hydrants | DET-WATR-220 | FH, HYD, PROP | Fire hydrants
Water Utility | P-WATR-BACKFLOW | 255105180 | Hot Pink | Backflow preventers | DET-WATR-260 | BFP, RP, DCV | Backflow preventers
Water Utility | P-WATR-BLOW-OFF | 255,20,147 | Deep Pink | Blow-off valves | DET-WATR-230 | BO, VLV | Blow-off valves
Water Utility | P-WATR-AIR-RELEASE | 255,20,147 | Deep Pink | Air release valves | DET-WATR-230 | ARV, AVV, VLV | Air release valves
Water Utility | P-WATR-THRUST-BLOCK | 255,99,71 | Tomato | Thrust blocks | DET-WATR-280 | TB, CONC | Thrust blocks
Sanitary Sewer | E-SAN_-MAIN | 147112219 | Medium Purple | Sanitary sewer main (general) | DET-SAN_-310 | SAN, SSR, EXIST | RENAMED from E-SNTY
Sanitary Sewer | E-SAN_-MAIN-4IN | 147112219 | Medium Purple | 4" sanitary main | DET-SAN_-310 | 4" SAN, PVC | 4-inch sanitary main
Sanitary Sewer | E-SAN_-MAIN-6IN | 147112219 | Medium Purple | 6" sanitary main | DET-SAN_-310 | 6" SAN, PVC, VCP | 6-inch sanitary main
Sanitary Sewer | E-SAN_-MAIN-8IN | 147112219 | Medium Purple | 8" sanitary main | DET-SAN_-310 | 8" SAN, PVC, VCP | 8-inch sanitary main
Sanitary Sewer | E-SAN_-MAIN-10IN | 147112219 | Medium Purple | 10" sanitary main | DET-SAN_-310 | 10" SAN, PVC | 10-inch sanitary main
Sanitary Sewer | E-SAN_-MAIN-12IN | 147112219 | Medium Purple | 12" sanitary main | DET-SAN_-310 | 12" SAN, PVC, RCP | 12-inch sanitary main
Sanitary Sewer | E-SAN_-MAIN-15IN | 147112219 | Medium Purple | 15" sanitary main | DET-SAN_-310 | 15" SAN, RCP | 15-inch sanitary main
Sanitary Sewer | E-SAN_-MAIN-18IN | 147112219 | Medium Purple | 18" sanitary main | DET-SAN_-310 | 18" SAN, RCP | 18-inch sanitary main
Sanitary Sewer | E-SAN_-MAIN-21IN | 147112219 | Medium Purple | 21" sanitary main | DET-SAN_-310 | 21" SAN, RCP | 21-inch sanitary main
Sanitary Sewer | E-SAN_-LATERAL | 147112219 | Medium Purple | Sanitary service laterals | DET-SAN_-330 | LAT, SVC, EXIST | Service laterals
Sanitary Sewer | E-SAN_-MH | 138,43,226 | Blue Violet | Sanitary manholes | DET-SAN_-320 | MH, SSMH, EXIST | Sanitary manholes
Sanitary Sewer | E-SAN_-CLEANOUT | 147112219 | Medium Purple | Cleanouts | DET-SAN_-340 | CO, CLNOUT | Cleanouts
Sanitary Sewer | E-SAN_-LIFT-STATION | 138,43,226 | Blue Violet | Lift stations | DET-SAN_-360 | LS, PS | Lift stations
Sanitary Sewer | E-SAN_-FORCE-MAIN | 147112219 | Medium Purple | Force mains | DET-SAN_-350 | FM, DIP | Force mains
Sanitary Sewer | P-SAN_-MAIN | 255,20,147 | Deep Pink | Sanitary sewer main (general) | DET-SAN_-310 | SAN, SSR, PROP | RENAMED from P-SNTY
Sanitary Sewer | P-SAN_-MAIN-4IN | 255,20,147 | Deep Pink | 4" sanitary main | DET-SAN_-310 | 4" SAN, PVC | 4-inch (min per code)
Sanitary Sewer | P-SAN_-MAIN-6IN | 255,20,147 | Deep Pink | 6" sanitary main | DET-SAN_-310 | 6" SAN, PVC | 6-inch sanitary main
Sanitary Sewer | P-SAN_-MAIN-8IN | 255,20,147 | Deep Pink | 8" sanitary main | DET-SAN_-310 | 8" SAN, PVC, HDPE | 8-inch sanitary main
Sanitary Sewer | P-SAN_-MAIN-10IN | 255,20,147 | Deep Pink | 10" sanitary main | DET-SAN_-310 | 10" SAN, PVC, HDPE | 10-inch sanitary main
Sanitary Sewer | P-SAN_-MAIN-12IN | 255,20,147 | Deep Pink | 12" sanitary main | DET-SAN_-310 | 12" SAN, PVC, RCP | 12-inch sanitary main
Sanitary Sewer | P-SAN_-MAIN-15IN | 255,20,147 | Deep Pink | 15" sanitary main | DET-SAN_-310 | 15" SAN, RCP, HDPE | 15-inch sanitary main
Sanitary Sewer | P-SAN_-MAIN-18IN | 255,20,147 | Deep Pink | 18" sanitary main | DET-SAN_-310 | 18" SAN, RCP, HDPE | 18-inch sanitary main
Sanitary Sewer | P-SAN_-MAIN-21IN | 255,20,147 | Deep Pink | 21" sanitary main | DET-SAN_-310 | 21" SAN, RCP | 21-inch sanitary main
Sanitary Sewer | P-SAN_-LATERAL | 255,20,147 | Deep Pink | Sanitary service laterals | DET-SAN_-330 | LAT, SVC, HSE CONN | Service laterals
Sanitary Sewer | P-SAN_-MH | 255105180 | Hot Pink | Sanitary manholes | DET-SAN_-320 | MH, SSMH, PROP | Sanitary manholes
Sanitary Sewer | P-SAN_-CLEANOUT | 255,20,147 | Deep Pink | Cleanouts | DET-SAN_-340 | CO, CLNOUT | Cleanouts
Sanitary Sewer | P-SAN_-LIFT-STATION | 255105180 | Hot Pink | Lift stations | DET-SAN_-360 | LS, PS, PROP | Lift stations
Sanitary Sewer | P-SAN_-FORCE-MAIN | 255,20,147 | Deep Pink | Force mains | DET-SAN_-350 | FM, DIP, HDPE | Force mains
Sanitary Sewer | P-SAN_-GREASE-TRAP | 255105180 | Hot Pink | Grease traps/interceptors | DET-SAN_-330 | GT, GI, GREASE INT | Grease traps/interceptors
Other Utilities | E-UTIL-GAS | 147112219 | Medium Purple | Gas lines | N/A | GAS, LINE | Gas lines
Other Utilities | E-UTIL-ELECTRIC | 147112219 | Medium Purple | Electric lines (general) | N/A | ELEC, LINE | Electric lines (general)
Other Utilities | E-UTIL-ELECTRIC-OH | 147112219 | Medium Purple | Overhead electric | N/A | OH, ELEC | Overhead electric
Other Utilities | E-UTIL-ELECTRIC-UG | 147112219 | Medium Purple | Underground electric | N/A | UG, ELEC | Underground electric
Other Utilities | E-UTIL-TELEPHONE | 147112219 | Medium Purple | Telephone lines | N/A | TEL, PHONE | Telephone lines
Other Utilities | E-UTIL-CABLE | 147112219 | Medium Purple | Cable TV lines | N/A | CATV, CABLE | Cable TV lines
Other Utilities | E-UTIL-FIBER | 147112219 | Medium Purple | Fiber optic lines | N/A | FIBER, FO | Fiber optic lines
Other Utilities | E-UTIL-CONDUIT | 147112219 | Medium Purple | Utility conduit | N/A | CNDT, CONDUIT | Utility conduit
Other Utilities | E-UTIL-POLE | 138,43,226 | Blue Violet | Utility poles | N/A | POLE, UP | Utility poles
Other Utilities | E-UTIL-TRANSFORMER | 138,43,226 | Blue Violet | Transformers | N/A | XFMR, TRANS | Transformers
Other Utilities | E-UTIL-PEDESTAL | 138,43,226 | Blue Violet | Utility pedestals | N/A | PED, PEDESTAL | Utility pedestals
Other Utilities | E-UTIL-VAULT | 138,43,226 | Blue Violet | Utility vaults | N/A | VAULT, VLT | Utility vaults
Other Utilities | E-UTIL-HANDHOLE | 138,43,226 | Blue Violet | Handholes | N/A | HH, HANDHOLE | Handholes
Other Utilities | P-UTIL-GAS | 255,20,147 | Deep Pink | Gas lines | N/A | GAS, LINE | Gas lines
Other Utilities | P-UTIL-ELECTRIC | 255,20,147 | Deep Pink | Electric lines (general) | N/A | ELEC, LINE | Electric lines (general)
Other Utilities | P-UTIL-ELECTRIC-OH | 255,20,147 | Deep Pink | Overhead electric | N/A | OH, ELEC | Overhead electric
Other Utilities | P-UTIL-ELECTRIC-UG | 255,20,147 | Deep Pink | Underground electric | N/A | UG, ELEC | Underground electric
Other Utilities | P-UTIL-TELEPHONE | 255,20,147 | Deep Pink | Telephone lines | N/A | TEL, PHONE | Telephone lines
Other Utilities | P-UTIL-CABLE | 255,20,147 | Deep Pink | Cable TV lines | N/A | CATV, CABLE | Cable TV lines
Other Utilities | P-UTIL-FIBER | 255,20,147 | Deep Pink | Fiber optic lines | N/A | FIBER, FO | Fiber optic lines
Other Utilities | P-UTIL-CONDUIT | 255,20,147 | Deep Pink | Utility conduit | N/A | CNDT, CONDUIT | Utility conduit
Other Utilities | P-UTIL-POLE | 255105180 | Hot Pink | Utility poles | N/A | POLE, UP | Utility poles
Other Utilities | P-UTIL-TRANSFORMER | 255105180 | Hot Pink | Transformers | N/A | XFMR, TRANS | Transformers
Other Utilities | P-UTIL-PEDESTAL | 255105180 | Hot Pink | Utility pedestals | N/A | PED, PEDESTAL | Utility pedestals
Other Utilities | P-UTIL-VAULT | 255105180 | Hot Pink | Utility vaults | N/A | VAULT, VLT | Utility vaults
Other Utilities | P-UTIL-HANDHOLE | 255105180 | Hot Pink | Handholes | N/A | HH, HANDHOLE | Handholes
Other Utilities | P-UTIL-DUCT-BANK | 255,20,147 | Deep Pink | Duct banks | N/A | DUCT BANK, DB | Duct banks
Site Improvements | E-SITE-BUILDING | 123104238 | Medium Slate Blue | Existing buildings | DET-SITE-510 | BLDG, EXIST | Existing buildings
Site Improvements | E-SITE-STRUCTURE | 123104238 | Medium Slate Blue | Existing structures | DET-SITE-510 | STRUCT, EXIST | Existing structures
Site Improvements | E-SITE-PARKING | 100200255 | Light Blue | Existing parking areas | DET-SITE-520 | PKG, EXIST | Existing parking areas
Site Improvements | E-SITE-SIDEWALK | 100200255 | Light Blue | Existing sidewalks | DET-SITE-530 | SDWK, SW, EXIST | Existing sidewalks
Site Improvements | E-SITE-CURB | 191255 | Deep Sky Blue | Existing curbs | DET-SITE-530 | CURB, EXIST | Existing curbs
Site Improvements | E-SITE-DRIVEWAY | 100200255 | Light Blue | Existing driveways | DET-SITE-530 | DW, DRIVEWAY, EXIST | Existing driveways
Site Improvements | E-SITE-PAVEMENT | 100200255 | Light Blue | Existing pavement (general) | DET-SITE-530 | PVMT, EXIST | Existing pavement (general)
Site Improvements | E-SITE-ISLAND | 64224208 | Turquoise | Existing islands | DET-SITE-530 | ISLAND, EXIST | Existing islands
Site Improvements | E-SITE-SIGN | 147112219 | Medium Purple | Existing signs | DET-SITE-540 | SIGN, EXIST | Existing signs
Site Improvements | E-SITE-LIGHT | 147112219 | Medium Purple | Existing light poles | DET-SITE-540 | LIGHT, LP, EXIST | Existing light poles
Site Improvements | E-SITE-BOLLARD | 123104238 | Medium Slate Blue | Existing bollards | DET-SITE-530 | BOLL, EXIST | Existing bollards
Site Improvements | E-SITE-RETAINING-WALL | 123104238 | Medium Slate Blue | Existing retaining walls | DET-GRAD-410 | RET WALL, EXIST | Existing retaining walls
Site Improvements | E-SITE-STAIRS | 123104238 | Medium Slate Blue | Existing stairs | DET-SITE-550 | STAIRS, EXIST | Existing stairs
Site Improvements | E-SITE-RAMP | 123104238 | Medium Slate Blue | Existing ramps | DET-SITE-550 | RAMP, EXIST | Existing ramps
Site Improvements | P-SITE-BUILDING | 255,99,71 | Tomato | Proposed buildings | DET-SITE-510 | BLDG, PROP | Proposed buildings
Site Improvements | P-SITE-STRUCTURE | 255,99,71 | Tomato | Proposed structures | DET-SITE-510 | STRUCT, PROP | Proposed structures
Site Improvements | P-SITE-HARDSCAPE | 255200100 | Light Orange | General hardscape features | DET-SITE-530 | HARDSCAPE, HS | General hardscape features
Site Improvements | P-SITE-PARKING | 255200100 | Light Orange | Proposed parking areas | DET-SITE-520 | PKG, PROP | Proposed parking areas
Site Improvements | P-SITE-PARKING-STRIPE | 255228181 | Moccasin | Parking striping | DET-SITE-520 | PKG STRIPE, STRP | Parking striping
Site Improvements | P-SITE-PARKING-STALL | 255200100 | Light Orange | Parking stall lines | DET-SITE-520 | STALL, PKG | Parking stall lines
Site Improvements | P-SITE-SIDEWALK-CONC | 255200100 | Light Orange | Concrete sidewalks | DET-SITE-530 | SDWK, SW, CONC | Concrete sidewalks
Site Improvements | P-SITE-SIDEWALK-PAVER | 255200100 | Light Orange | Paver sidewalks | DET-SITE-530 | SDWK, PAVER | Paver sidewalks
Site Improvements | P-SITE-CURB | 255,140,0 | Dark Orange | Proposed curbs | DET-SITE-530 | CURB, PROP | Proposed curbs
Site Improvements | P-SITE-DRIVEWAY | 255200100 | Light Orange | Proposed driveways | DET-SITE-530 | DW, DRIVEWAY, PROP | Proposed driveways
Site Improvements | P-SITE-PAVEMENT-ASPH | 255200100 | Light Orange | Asphalt pavement | DET-SITE-530 | AC, ASPH | Asphalt pavement
Site Improvements | P-SITE-PAVEMENT-CONC | 255200100 | Light Orange | Concrete pavement | DET-SITE-530 | PCC, CONC | Concrete pavement
Site Improvements | P-SITE-PAVEMENT-GRVL | 255200100 | Light Orange | Gravel surface | DET-SITE-530 | GRVL, GRAVEL | Gravel surface
Site Improvements | P-SITE-ISLAND | 255,215,0 | Gold | Proposed islands | DET-SITE-530 | ISLAND, PROP | Proposed islands
Site Improvements | P-SITE-SIGN | 255,20,147 | Deep Pink | Proposed signs | DET-SITE-540 | SIGN, PROP | Proposed signs
Site Improvements | P-SITE-LIGHT | 255,20,147 | Deep Pink | Proposed light poles | DET-SITE-540 | LIGHT, LP, PROP | Proposed light poles
Site Improvements | P-SITE-BOLLARD | 255,99,71 | Tomato | Proposed bollards | DET-SITE-530 | BOLL, PROP | Proposed bollards
Site Improvements | P-SITE-BARRIER | 255,99,71 | Tomato | Barriers/guardrails | DET-SITE-530 | BARRIER, RAIL | Barriers/guardrails
Site Improvements | P-SITE-RETAINING-WALL | 255,99,71 | Tomato | Proposed retaining walls | DET-GRAD-410 | RET WALL, PROP | Proposed retaining walls
Site Improvements | P-SITE-STAIRS | 255,99,71 | Tomato | Proposed stairs | DET-SITE-550 | STAIRS, PROP | Proposed stairs
Site Improvements | P-SITE-RAMP | 255,99,71 | Tomato | Proposed ramps (non-ADA) | DET-SITE-550 | RAMP, PROP | Proposed ramps (non-ADA)
Site Improvements | P-SITE-FENCE | 255,99,71 | Tomato | Proposed fencing | DET-SITE-530 | FNC, FENCE | Proposed fencing
Site Improvements | P-SITE-GATE | 255,99,71 | Tomato | Proposed gates | DET-SITE-530 | GATE, PROP | Proposed gates
Site Improvements | P-SITE-FURNITURE | 255,20,147 | Deep Pink | Site furniture (benches/tables) | DET-SITE-540 | FURN, BENCH | Site furniture (benches/tables)
Site Improvements | P-SITE-AMENITY | 255,20,147 | Deep Pink | Amenities (fountains/kiosks) | DET-SITE-540 | AMENITY, FOUNTAIN | Amenities (fountains/kiosks)
Site Improvements | P-SITE-TRASH | 255,20,147 | Deep Pink | Trash receptacles | DET-SITE-540 | TRASH, RECEPT | Trash receptacles
Site Improvements | P-SITE-BIKE-RACK | 255,20,147 | Deep Pink | Bike racks | DET-SITE-540 | BIKE RACK, BR | Bike racks
ADA Compliance | E-ADA-CURBRAMP | 138,43,226 | Blue Violet | Existing curb ramps | DET-ADA-850 | CR, CURB RAMP, EXIST | ⭐ Existing curb ramps
ADA Compliance | E-ADA-DETWARN | 138,43,226 | Blue Violet | Existing detectable warnings | DET-ADA-860 | DW, TRUNC DOME, EXIST | ⭐ Existing detectable warnings
ADA Compliance | E-ADA-ACCROUTE | 100200255 | Light Blue | Existing accessible routes | DET-ADA-870 | ACC ROUTE, 48" MIN | ⭐ Existing accessible routes
ADA Compliance | E-ADA-ACCPKG | 100200255 | Light Blue | Existing accessible parking | DET-ADA-880 | ACC PKG, ADA PKG | ⭐ Existing accessible parking
ADA Compliance | P-ADA-CURBRAMP | 255,140,0 | Dark Orange | Proposed curb ramps | DET-ADA-850 | CR, CURB RAMP, PROP | ⭐ Proposed curb ramps
ADA Compliance | P-ADA-DETWARN | 255,140,0 | Dark Orange | Detectable warning surfaces | DET-ADA-860 | DW, TRUNC DOME, PROP | ⭐ Truncated dome surfaces
ADA Compliance | P-ADA-ACCROUTE | 255200100 | Light Orange | Accessible routes (48" clear) | DET-ADA-870 | ACC ROUTE, 48" MIN | ⭐ Accessible routes (48" clear)
ADA Compliance | P-ADA-ACCPKG-STD | 255200100 | Light Orange | Standard accessible parking (96") | DET-ADA-880 | ACC PKG, 96" MIN | ⭐ Standard accessible (96" wide)
ADA Compliance | P-ADA-ACCPKG-VAN | 255200100 | Light Orange | Van accessible parking (132") | DET-ADA-880 | VAN ACC, 132" MIN | ⭐ Van accessible (132" wide)
ADA Compliance | P-ADA-ACCAISLE | 255228181 | Moccasin | Access aisle (60" min) | DET-ADA-880 | ACC AISLE, 60" MIN | ⭐ Access aisle (60" min)
ADA Compliance | P-ADA-RAMP | 255,140,0 | Dark Orange | Accessible ramps | DET-ADA-890 | RMP, ACC RAMP, PROP | ⭐ Accessible ramps
ADA Compliance | P-ADA-LANDING | 255200100 | Light Orange | Ramp/door landings | DET-ADA-890 | LNDG, 60"x60" | ⭐ Ramp/door landings
ADA Compliance | P-ADA-XSLOPE | 255,20,147 | Deep Pink | Cross slope indicators | DET-ADA-870 | X-SLP, MAX 2.0% | ⭐ Cross slope indicators
ADA Compliance | P-ADA-RUNSLOPE | 255,20,147 | Deep Pink | Running slope indicators | DET-ADA-870 | RUN SLP, MAX 5.0% | ⭐ Running slope indicators
ADA Compliance | P-ADA-CLEARZONE | 255228181 | Moccasin | Clear floor/ground space | DET-ADA-870 | CLR SPC, 60" DIA | ⭐ Clear floor/ground space
ADA Compliance | P-ADA-PUSHBUTTON | 255105180 | Hot Pink | Accessible ped signals | DET-ADA-895 | PUSH BUTTON, APS | ⭐ Accessible ped signals
ADA Compliance | P-ADA-SIGNAGE | 255105180 | Hot Pink | ADA signage locations | DET-ADA-895 | SIGN, ACC SIGN | ⭐ ADA signage locations
Paving | E-PAVE-CENTERLINE | 100200255 | Light Blue | Road centerline | DET-PAVE-810 | ℄, CL, EXIST | Use ℄ symbol preferred
Paving | E-PAVE-EDGE-TRAVEL | 191255 | Deep Sky Blue | Edge of travel lane | DET-PAVE-835 | EDG, TW, EXIST | Edge of travel lane
Paving | E-PAVE-EDGE-SHOULDER | 100200255 | Light Blue | Edge of shoulder | DET-PAVE-835 | EDG, SHLDR, EXIST | Edge of shoulder
Paving | E-PAVE-CURB | 191255 | Deep Sky Blue | Road curb | DET-PAVE-830 | CURB, EXIST | Road curb
Paving | E-PAVE-GUTTER | 100200255 | Light Blue | Gutter | DET-PAVE-830 | GTR, GUTTER, EXIST | Gutter
Paving | E-PAVE-STRIPE | 176224230 | Powder Blue | Road striping | DET-TRFC-910 | STRP, EXIST | Road striping
Paving | E-PAVE-MARKING | 176224230 | Powder Blue | Pavement markings | DET-TRFC-920 | MKG, MARKING, EXIST | Pavement markings
Paving | E-PAVE-AC | 100200255 | Light Blue | Existing asphalt concrete | DET-PAVE-810 | AC, ASPH, EXIST | Existing asphalt
Paving | E-PAVE-PCC | 100200255 | Light Blue | Existing Portland cement concrete | DET-PAVE-820 | PCC, CONC, EXIST | Existing concrete
Paving | P-PAVE-CENTERLINE | 255200100 | Light Orange | Road centerline | DET-PAVE-810 | ℄, CL, PROP | Use ℄ symbol preferred
Paving | P-PAVE-EDGE-TRAVEL | 255,140,0 | Dark Orange | Edge of travel lane | DET-PAVE-835 | EDG, TW, PROP | Edge of travel lane
Paving | P-PAVE-EDGE-SHOULDER | 255200100 | Light Orange | Edge of shoulder | DET-PAVE-835 | EDG, SHLDR, PROP | Edge of shoulder
Paving | P-PAVE-CURB | 255,140,0 | Dark Orange | Road curb | DET-PAVE-830 | CURB, PROP | Road curb
Paving | P-PAVE-CURBGUT | 255,140,0 | Dark Orange | Curb and gutter combined | DET-PAVE-830 | C&G, CURB, GTR | Combined curb & gutter
Paving | P-PAVE-GUTTER | 255200100 | Light Orange | Gutter | DET-PAVE-830 | GTR, GUTTER, PROP | Gutter
Paving | P-PAVE-AC | 255200100 | Light Orange | Asphalt concrete pavement | DET-PAVE-810 | AC, ASPH, PROP | AC pavement sections
Paving | P-PAVE-PCC | 255200100 | Light Orange | Portland cement concrete pavement | DET-PAVE-820 | PCC, CONC, PROP | PCC pavement sections
Paving | P-PAVE-BASE | 255,165,0 | Orange | Aggregate base | DET-PAVE-825 | AB, BASE, CAB | Aggregate base course
Paving | P-PAVE-JOINT | 255,140,0 | Dark Orange | Pavement joints | DET-PAVE-840 | JT, JOINT | Pavement joints
Paving | P-PAVE-OVERLAY | 255,165,0 | Orange | Pavement overlay | DET-PAVE-845 | OVLY, AC OVLY | Pavement overlay
Paving | P-PAVE-MEDIAN | 255,215,0 | Gold | Medians | DET-PAVE-830 | MEDIAN, ISLAND | Medians
Paving | P-PAVE-ISLAND | 255,215,0 | Gold | Traffic islands | DET-PAVE-830 | ISLAND, MEDIAN | Traffic islands
Paving | P-PAVE-ROUNDABOUT | 255,140,0 | Dark Orange | Roundabouts | DET-PAVE-810 | ROUNDABOUT, CIRCLE | Roundabouts
Traffic Control | E-TRFC-SIGN-REG | 147112219 | Medium Purple | Regulatory signs (R-series) | DET-TRFC-930 | SIGN, REG, R-SERIES | RENAMED from E-TRAF
Traffic Control | E-TRFC-SIGN-WARN | 147112219 | Medium Purple | Warning signs (W-series) | DET-TRFC-930 | SIGN, WARN, W-SERIES | Warning signs
Traffic Control | E-TRFC-SIGN-GUIDE | 147112219 | Medium Purple | Guide signs (G-series) | DET-TRFC-930 | SIGN, GUIDE, G-SERIES | Guide signs
Traffic Control | E-TRFC-SIGNAL | 138,43,226 | Blue Violet | Traffic signals | DET-TRFC-940 | SIG, TRFC SIG | Traffic signals
Traffic Control | E-TRFC-BEACON | 138,43,226 | Blue Violet | Beacons | DET-TRFC-940 | BEACON, FLASHER | Beacons
Traffic Control | E-TRFC-DETECTOR | 147112219 | Medium Purple | Vehicle detectors | DET-TRFC-960 | DETECTOR, LOOP | Vehicle detectors
Traffic Control | P-TRFC-STRIPE | 255228181 | Moccasin | Striping (general) | DET-TRFC-910 | STRP, LINE | RENAMED from P-TRAF
Traffic Control | P-TRFC-STRIPE-YEL | 255,255,0 | Yellow | Yellow striping | DET-TRFC-910 | YEL STRP, 6" YEL | Yellow striping
Traffic Control | P-TRFC-STRIPE-WHT | 255228181 | Moccasin | White striping | DET-TRFC-910 | WHT STRP, 4" WHT | White striping
Traffic Control | P-TRFC-MARKING | 255228181 | Moccasin | Pavement markings | DET-TRFC-920 | MKG, LEG, SYM | Pavement markings
Traffic Control | P-TRFC-XWALK | 255228181 | Moccasin | Crosswalks | DET-TRFC-925 | XWALK, PED XING | Crosswalks
Traffic Control | P-TRFC-STOP-BAR | 255228181 | Moccasin | Stop bars | DET-TRFC-920 | LIMIT LN, STOP BAR | Stop bars
Traffic Control | P-TRFC-SIGN-REG | 255,20,147 | Deep Pink | Regulatory signs | DET-TRFC-930 | SIGN, REG, R-SERIES | Regulatory signs
Traffic Control | P-TRFC-SIGN-WARN | 255,20,147 | Deep Pink | Warning signs | DET-TRFC-930 | SIGN, WARN, W-SERIES | Warning signs
Traffic Control | P-TRFC-SIGN-GUIDE | 255,20,147 | Deep Pink | Guide signs | DET-TRFC-930 | SIGN, GUIDE, G-SERIES | Guide signs
Traffic Control | P-TRFC-SIGNAL | 255105180 | Hot Pink | Traffic signals | DET-TRFC-940 | SIG, TRFC SIG | Traffic signals
Traffic Control | P-TRFC-BEACON | 255105180 | Hot Pink | Beacons | DET-TRFC-940 | BEACON, FLASHER | Beacons
Traffic Control | P-TRFC-DETECTOR | 255,20,147 | Deep Pink | Vehicle detectors | DET-TRFC-960 | DETECTOR, LOOP, VIDEO | Vehicle detectors
Traffic Control | P-TRFC-CONTROLLER | 255105180 | Hot Pink | Signal controllers | DET-TRFC-940 | CTRL, SIG CTRL | Signal controllers
Traffic Control | P-TRFC-CONDUIT | 255,20,147 | Deep Pink | Signal conduit | DET-TRFC-940 | CNDT, CONDUIT | Signal conduit
Landscape | E-LNDS-TREE-DECID | 64224208 | Turquoise | Deciduous trees | DET-LNDS-460 | TR, DECID, EXIST | Deciduous trees
Landscape | E-LNDS-TREE-CONIF | 64224208 | Turquoise | Coniferous trees | DET-LNDS-460 | TR, CONIF, EVERGR | Coniferous trees
Landscape | E-LNDS-TREE-PALM | 64224208 | Turquoise | Palm trees | DET-LNDS-460 | TR, PALM, EXIST | Palm trees
Landscape | E-LNDS-SHRUB | 64224208 | Turquoise | Shrubs | DET-LNDS-470 | SH, SHRUB, EXIST | Shrubs
Landscape | E-LNDS-GROUND-COVER | 64224208 | Turquoise | Ground cover | DET-LNDS-480 | GC, GCOVER, EXIST | Ground cover
Landscape | E-LNDS-GRASS | 64224208 | Turquoise | Grass/turf areas | DET-LNDS-490 | GRASS, TURF, EXIST | Grass/turf areas
Landscape | E-LNDS-MULCH | 100200255 | Light Blue | Mulch beds | DET-LNDS-470 | MLCH, MULCH, EXIST | Mulch beds
Landscape | E-LNDS-PLANTER | 123104238 | Medium Slate Blue | Planters | DET-LNDS-470 | PLNTR, EXIST | Planters
Landscape | P-LNDS-TREE-DECID | 255,215,0 | Gold | Deciduous trees | DET-LNDS-460 | TR, DECID, CAL | Deciduous trees
Landscape | P-LNDS-TREE-CONIF | 255,215,0 | Gold | Coniferous trees | DET-LNDS-460 | TR, CONIF, EVERGR | Coniferous trees
Landscape | P-LNDS-TREE-PALM | 255,215,0 | Gold | Palm trees | DET-LNDS-460 | TR, PALM, PROP | Palm trees
Landscape | P-LNDS-SHRUB | 255,215,0 | Gold | Shrubs | DET-LNDS-470 | SH, 5 GAL, PROP | Shrubs
Landscape | P-LNDS-GROUND-COVER | 255,215,0 | Gold | Ground cover | DET-LNDS-480 | GC, FLAT, 4" POT | Ground cover
Landscape | P-LNDS-GRASS | 255,215,0 | Gold | Grass/turf areas | DET-LNDS-490 | GRASS, TURF, SOD | Grass/turf areas
Landscape | P-LNDS-MULCH | 255200100 | Light Orange | Mulch beds | DET-LNDS-470 | MLCH, 3", BARK | Mulch beds (3" depth)
Landscape | P-LNDS-PLANTER | 255,99,71 | Tomato | Planters | DET-LNDS-470 | PLNTR, RAISED, CONC | Planters
Landscape | P-LNDS-PLANTING-BED | 255,215,0 | Gold | Planting beds (ground level) | DET-LNDS-470 | PLNTG BED, PROP | Ground-level planting beds
Landscape | P-LNDS-ROCKERY | 255200100 | Light Orange | Rock features | DET-LNDS-470 | RCKRY, COBBLE | Rock features
Irrigation | P-IRRG-MAIN | 255,20,147 | Deep Pink | Irrigation mainline | DET-IRRG-710 | ML, IRRG MAIN | NEW CATEGORY - Irrigation mainline
Irrigation | P-IRRG-LATERAL | 255,20,147 | Deep Pink | Irrigation lateral lines | DET-IRRG-720 | LAT, IRRG LAT | Lateral lines
Irrigation | P-IRRG-VALVE | 255105180 | Hot Pink | Remote control valves (RCV) | DET-IRRG-730 | RCV, CTRL VLV | Control valves
Irrigation | P-IRRG-VALVEBOX | 255105180 | Hot Pink | Valve boxes | DET-IRRG-730 | VB, VALVE BOX | Valve boxes
Irrigation | P-IRRG-HEAD-ROT | 255105180 | Hot Pink | Rotary sprinkler heads | DET-IRRG-735 | ROT, ROTOR, 15' | Rotary sprinkler heads
Irrigation | P-IRRG-HEAD-SPY | 255105180 | Hot Pink | Spray heads (fixed pattern) | DET-IRRG-735 | SPY, SPRAY, 12' | Spray heads
Irrigation | P-IRRG-HEAD-BUBB | 255105180 | Hot Pink | Bubbler heads | DET-IRRG-735 | BUBB, BUBBLER | Bubbler heads
Irrigation | P-IRRG-DRIP | 255,20,147 | Deep Pink | Drip irrigation lines | DET-IRRG-740 | DRIP, ½" POLY | Drip irrigation lines
Irrigation | P-IRRG-EMITTER | 255105180 | Hot Pink | Drip emitters | DET-IRRG-740 | DE, DRIP EMITTER | Drip emitters
Irrigation | P-IRRG-CTRL | 255105180 | Hot Pink | Controller location | DET-IRRG-745 | CTRL, CONTROLLER | Controller location
Irrigation | P-IRRG-SLEEVE | 255,140,0 | Dark Orange | Irrigation sleeve (under pavement) | DET-IRRG-720 | SLV, SLEEVE | Sleeve under pavement
Irrigation | P-IRRG-QUICKCOUPLER | 255105180 | Hot Pink | Quick coupler valves | DET-IRRG-730 | QC, QUICK COUPLER | Quick coupler valves
Annotation | E-ANNO-TEXT | 176224230 | Powder Blue | General text | N/A | TEXT, EXIST | General text
Annotation | E-ANNO-LABEL | 176224230 | Powder Blue | Labels | N/A | LABEL, TAG, EXIST | Labels
Annotation | E-ANNO-DIMENSION | 176224230 | Powder Blue | Dimensions | N/A | DIM, EXIST | Dimensions
Annotation | E-ANNO-LEADER | 176224230 | Powder Blue | Leaders/callouts | N/A | LEADER, CALLOUT | Leaders/callouts
Annotation | E-ANNO-NOTE | 176224230 | Powder Blue | Notes | N/A | NOTE, EXIST | Notes
Annotation | E-ANNO-SYMBOL | 138,43,226 | Blue Violet | Symbols | N/A | SYM, SYMBOL, EXIST | Symbols
Annotation | E-ANNO-TAG | 176224230 | Powder Blue | Tags/identifiers | N/A | TAG, ID, EXIST | Tags/identifiers
Annotation | P-ANNO-TEXT | 255228181 | Moccasin | General text | N/A | TEXT, PROP | General text
Annotation | P-ANNO-LABEL | 255228181 | Moccasin | Labels | N/A | LABEL, TAG, PROP | Labels
Annotation | P-ANNO-DIMENSION | 255228181 | Moccasin | Dimensions | N/A | DIM, PROP | Dimensions
Annotation | P-ANNO-LEADER | 255228181 | Moccasin | Leaders/callouts | N/A | LEADER, CALLOUT | Leaders/callouts
Annotation | P-ANNO-NOTE | 255228181 | Moccasin | Notes | N/A | NOTE, PROP | Notes
Annotation | P-ANNO-SYMBOL | 255105180 | Hot Pink | Symbols | N/A | SYM, SYMBOL, PROP | Symbols
Annotation | P-ANNO-TAG | 255228181 | Moccasin | Tags/identifiers | N/A | TAG, ID, PROP | Tags/identifiers
Annotation | E-ANNO-STRM | 176224230 | Powder Blue | Storm drainage annotations | DET-STRM-### | SD, TEXT, PIPE SIZE | NEW - Storm annotations
Annotation | P-ANNO-STRM | 255228181 | Moccasin | Storm drainage annotations | DET-STRM-### | SD, TEXT, INV, MH | Storm annotations
Annotation | E-ANNO-WATR | 176224230 | Powder Blue | Water utility annotations | DET-WATR-### | WM, TEXT, VALVE | NEW - Water annotations
Annotation | P-ANNO-WATR | 255228181 | Moccasin | Water utility annotations | DET-WATR-### | WM, TEXT, FH, GV | Water annotations
Annotation | E-ANNO-SAN_ | 176224230 | Powder Blue | Sanitary sewer annotations | DET-SAN_-### | SAN, TEXT, INV | NEW - Sewer annotations
Annotation | P-ANNO-SAN_ | 255228181 | Moccasin | Sanitary sewer annotations | DET-SAN_-### | SAN, TEXT, MH, CO | Sewer annotations
Annotation | P-ANNO-GRAD | 255228181 | Moccasin | Grading annotations | DET-GRAD-### | FG, EL, GRAD, SLP | NEW - Grading annotations
Annotation | P-ANNO-ADA_ | 255228181 | Moccasin | ADA compliance annotations | DET-ADA-### | ACC, ADA, SLP | ⭐ NEW - ADA annotations
Annotation | P-ANNO-TRFC | 255228181 | Moccasin | Traffic control annotations | DET-TRFC-### | STRP, SIGN, MKG | NEW - Traffic annotations
Reference | BORD-TITLEBLOCK | 255255255 | White | Title block | N/A | TB, TITLE BLOCK | Title block
Reference | BORD-VIEWPORT | 128128128 | Gray | Viewport borders | N/A | VP, VIEWPORT | Viewport borders
Reference | BORD-SHEET-EDGE | 192192192 | Silver | Sheet edge/limits | N/A | SHEET EDGE, LIMIT | Sheet edge/limits
Reference | BORD-MATCHLINE | 255255255 | White | Match lines | N/A | MATCHLINE, MATCH | Match lines
Reference | BORD-REFERENCE-LINE | 192192192 | Silver | Reference lines | N/A | REF LINE, GRID | Reference lines
Reference | XREF-ARCH | 128128128 | Gray | Architectural xref | N/A | ARCH, XREF | Architectural xref
Reference | XREF-STRUCT | 128128128 | Gray | Structural xref | N/A | STRUCT, XREF | Structural xref
Reference | XREF-SURVEY | 128128128 | Gray | Survey xref | N/A | SURV, XREF | Survey xref
Reference | XREF-GIS | 128128128 | Gray | GIS data xref | N/A | GIS, XREF | GIS data xref
Reference | XREF-UTILITY | 128128128 | Gray | Utility xref | N/A | UTIL, XREF | Utility xref
Reference | DEFPOINTS | 255255255 | White | Definition points (non-plotting) | N/A | DEFPOINTS | Definition points (non-plotting)
Demolition | D-SITE-BUILDING | 255,0,0 | Red | Buildings to be demolished | N/A | DEMO, BLDG, REMOVE | Buildings to demolish
Demolition | D-SITE-STRUCTURE | 255,0,0 | Red | Structures to be removed | N/A | DEMO, STRUCT, REMOVE | Structures to remove
Demolition | D-SITE-PAVEMENT | 255100100 | Light Red | Pavement to be removed | N/A | DEMO, PVMT, REMOVE | Pavement removal
Demolition | D-SITE-CURB | 255,0,0 | Red | Curbs to be removed | N/A | DEMO, CURB, REMOVE | Curb removal
Demolition | D-SITE-SIDEWALK | 255100100 | Light Red | Sidewalks to be removed | N/A | DEMO, SDWK, REMOVE | Sidewalk removal
Demolition | D-STRM-PIPE | 255,0,100 | Red-Pink | Storm pipes to be removed | N/A | DEMO, SD, REMOVE | Storm pipe removal
Demolition | D-STRM-STRUCTURE | 255,0,0 | Red | Storm structures to be removed | N/A | DEMO, CB, MH, REMOVE | Storm structure removal
Demolition | D-WATR-MAIN | 255,0,100 | Red-Pink | Water mains to be removed | N/A | DEMO, WM, REMOVE | Water main removal
Demolition | D-WATR-LATERAL | 255,0,100 | Red-Pink | Water laterals to be removed | N/A | DEMO, LAT, REMOVE | Water lateral removal
Demolition | D-SAN_-MAIN | 255,0,100 | Red-Pink | Sanitary mains to be removed | N/A | DEMO, SAN, REMOVE | RENAMED - Sanitary removal
Demolition | D-SAN_-LATERAL | 255,0,100 | Red-Pink | Sanitary laterals to be removed | N/A | DEMO, LAT, REMOVE | RENAMED - Lateral removal
Demolition | D-UTIL-POLE | 255,0,0 | Red | Utility poles to be removed | N/A | DEMO, POLE, REMOVE | Utility pole removal
Demolition | D-LNDS-TREE | 255,50,50 | Red | Trees to be removed | N/A | DEMO, TR, REMOVE | Tree removal
Demolition | D-LNDS-SHRUB | 255100100 | Light Red | Shrubs to be removed | N/A | DEMO, SH, REMOVE | Shrub removal
Demolition | D-ANNO-TEXT | 255150150 | Pink | Demolition notes | N/A | DEMO, TEXT, NOTE | Demolition notes
Temporary | T-SITE-FENCE | 200,200,0 | Yellow-Green | Temporary fencing | N/A | TEMP FNC, CONST FNC | Temporary fencing
Temporary | T-SITE-ACCESS | 200,200,0 | Yellow-Green | Temporary access roads | N/A | TEMP ACCESS, CONST | Temporary access roads
Temporary | T-SITE-STAGING | 200,200,0 | Yellow-Green | Staging areas | N/A | STAGING, TEMP | Staging areas
Temporary | T-SITE-TRAILER | 200,200,0 | Yellow-Green | Construction trailers | N/A | TRAILER, TEMP | Construction trailers
Temporary | T-SITE-STORAGE | 200,200,0 | Yellow-Green | Storage areas | N/A | STORAGE, TEMP | Storage areas
Temporary | T-UTIL-POWER | 200,200,0 | Yellow-Green | Temporary power | N/A | TEMP PWR, CONST PWR | Temporary power
Temporary | T-UTIL-WATER | 200,200,0 | Yellow-Green | Temporary water | N/A | TEMP WTR, CONST WTR | Temporary water
Temporary | T-EROS-SILT-FENCE | 200,200,0 | Yellow-Green | Silt fence | N/A | SILT FNC, TEMP | Silt fence
Temporary | T-EROS-INLET-PROTECT | 200,200,0 | Yellow-Green | Inlet protection | N/A | INLET PROT, BMP | Inlet protection
Temporary | T-EROS-DIVERSION | 200,200,0 | Yellow-Green | Temporary diversions | N/A | DIVERSION, TEMP | Temporary diversions
Temporary | T-ANNO-TEXT | 220220100 | Light Yellow | Temporary notes | N/A | TEMP, TEXT, NOTE | Temporary notes
Utility Coordination | UTIL-CONFLICT | 255,0,0 | Red | Utility conflicts | N/A | CONFLICT, CLASH | Utility conflicts
Utility Coordination | UTIL-CROSSING-OVER | 255,165,0 | Orange | Utility crossing over | N/A | OVER, CROSSING | Utility crossing over
Utility Coordination | UTIL-CROSSING-UNDER | 255200100 | Light Orange | Utility crossing under | N/A | UNDER, CROSSING | Utility crossing under
Utility Coordination | UTIL-SEPARATION | 255228181 | Moccasin | Separation lines | N/A | SEPARATION, CLR | Separation lines
Utility Coordination | UTIL-POTHOLE | 255105180 | Hot Pink | Pothole locations | N/A | POTHOLE, DIG | Pothole locations
Utility Coordination | UTIL-ABANDON | 128128128 | Gray | Utilities to abandon | N/A | ABANDON, ABANDON IN PLACE | Utilities to abandon
Construction | P-CNST-EXCAVATION | 255,140,0 | Dark Orange | Excavation limits | N/A | EXC, EXCAVATION | Excavation limits
Construction | P-CNST-LIMIT-WORK | 255,140,0 | Dark Orange | Limits of work | N/A | LIMIT WORK, LOW | Limits of work
Construction | P-CNST-CLEARING | 255200100 | Light Orange | Clearing limits | N/A | CLEARING, LIMIT | Clearing limits
Construction | P-CNST-TREE-PROTECT | 255,215,0 | Gold | Tree protection zones | N/A | TPZ, TREE PROT | Tree protection zones
Construction | P-CNST-HAUL-ROUTE | 255,165,0 | Orange | Haul routes | N/A | HAUL ROUTE, ACCESS | Haul routes
Construction | P-CNST-BENCH | 255,140,0 | Dark Orange | Benches/berms | N/A | BENCH, BERM | Benches/berms
Construction | P-CNST-KEYWAY | 255,140,0 | Dark Orange | Keyways | N/A | KEYWAY, KEY | Keyways
Construction | P-CNST-GEOTEXTILE | 255200100 | Light Orange | Geotextile fabric | N/A | GEOTEXTILE, FABRIC | Geotextile fabric
Construction | P-CNST-AGGREGATE | 255200100 | Light Orange | Aggregate base | N/A | AB, AGGREGATE BASE | Aggregate base
Environmental | E-ENVR-WETLAND | 64224208 | Turquoise | Wetlands | N/A | WETLAND, WL | Wetlands
Environmental | E-ENVR-FLOODPLAIN | 255255 | Cyan | Floodplain boundaries | N/A | FLOODPLAIN, 100-YR | Floodplain boundaries
Environmental | E-ENVR-FLOODWAY | 255255 | Cyan | Floodway | N/A | FLOODWAY, FW | Floodway
Environmental | E-ENVR-RIPARIAN | 64224208 | Turquoise | Riparian zones | N/A | RIPARIAN, BUFFER | Riparian zones
Environmental | E-ENVR-HABITAT | 64224208 | Turquoise | Critical habitat | N/A | HABITAT, CRITICAL | Critical habitat
Environmental | E-ENVR-BUFFER | 100200255 | Light Blue | Environmental buffers | N/A | BUFFER, SETBACK | Environmental buffers
Environmental | P-ENVR-MITIGATION | 255,215,0 | Gold | Mitigation areas | N/A | MITIGATION, MIT | Mitigation areas
Environmental | P-ENVR-RESTORATION | 255,215,0 | Gold | Restoration areas | N/A | RESTORATION, REST | Restoration areas
Environmental | P-ENVR-BUFFER | 255200100 | Light Orange | Environmental buffers | N/A | BUFFER, SETBACK | Environmental buffers
Environmental | P-ENVR-MONITORING | 255105180 | Hot Pink | Monitoring points | N/A | MONITORING, MON PT | Monitoring points
Profile | PROF-GRID-MAJOR | 128128128 | Gray | Major profile grid | N/A | GRID, MAJOR | Major profile grid
Profile | PROF-GRID-MINOR | 80,80,80 | Dark Gray | Minor profile grid | N/A | GRID, MINOR | Minor profile grid
Profile | E-PROF-GROUND | 191255 | Deep Sky Blue | Existing ground line | N/A | EG, GROUND | Existing ground line
Profile | P-PROF-GRADE | 255,140,0 | Dark Orange | Proposed grade line | N/A | FG, GRADE | Proposed grade line
Profile | P-PROF-PIPE-STORM | 255,20,147 | Deep Pink | Storm pipe profile | N/A | SD, PROFILE | Storm pipe profile
Profile | P-PROF-PIPE-WATER | 255,20,147 | Deep Pink | Water pipe profile | N/A | WM, PROFILE | Water pipe profile
Profile | P-PROF-PIPE-SANITARY | 255,20,147 | Deep Pink | Sanitary pipe profile | N/A | SAN, PROFILE | Sanitary pipe profile
Profile | PROF-STATION | 255255255 | White | Station labels | N/A | STA, STATION | Station labels
Profile | PROF-ELEVATION | 255255255 | White | Elevation labels | N/A | ELEV, EL | Elevation labels
Cross-Section | XSEC-GRID | 128128128 | Gray | Cross-section grid | N/A | GRID, XSEC | Cross-section grid
Cross-Section | E-XSEC-GROUND | 191255 | Deep Sky Blue | Existing ground | N/A | EG, GROUND | Existing ground
Cross-Section | P-XSEC-GRADE | 255,140,0 | Dark Orange | Proposed grade | N/A | FG, GRADE | Proposed grade
Cross-Section | P-XSEC-PAVEMENT | 255200100 | Light Orange | Pavement layers | N/A | PVMT, PAVEMENT | Pavement layers
Cross-Section | P-XSEC-SUBGRADE | 255,165,0 | Orange | Subgrade | N/A | SUBGRADE, SG | Subgrade
Cross-Section | P-XSEC-PIPE | 255,20,147 | Deep Pink | Utility pipes | N/A | PIPE, UTILITY | Utility pipes
Cross-Section | XSEC-STATION | 255255255 | White | Station labels | N/A | STA, STATION | Station labels
Cross-Section | XSEC-DIMENSION | 255228181 | Moccasin | Dimensions | N/A | DIM, DIMENSION | Dimensions
Hydrology | HYDR-WATERSHED | 255255 | Cyan | Watershed boundaries | N/A | WATERSHED, WS | Watershed boundaries
Hydrology | HYDR-SUBBASIN | 100200255 | Light Blue | Subbasin boundaries | N/A | SUBBASIN, SB | Subbasin boundaries
Hydrology | HYDR-FLOWPATH | 191255 | Deep Sky Blue | Flow paths | N/A | FLOW PATH, FP | Flow paths
Hydrology | HYDR-FLOWLINE | 255255 | Cyan | Stream flowlines | N/A | FLOWLINE, FL | Stream flowlines
Hydrology | HYDR-NODE | 138,43,226 | Blue Violet | Calculation nodes | N/A | NODE, CALC NODE | Calculation nodes
Hydrology | HYDR-TIME-CONC | 176224230 | Powder Blue | Time of concentration | N/A | TC, TIME CONC | Time of concentration
Hydrology | HYDR-FLOOD-ELEV | 255255 | Cyan | Flood elevations | N/A | FLOOD ELEV, WSEL | Flood elevations
Detail Reference | DETAIL-REFER | 255228181 | Moccasin | Detail reference bubbles | ALL | DET, DTL, BUBBLE | NEW - Detail bubbles
Detail Reference | DETAIL-CUT | 255,140,0 | Dark Orange | Section/detail cut lines | ALL | CUT LINE, SECTION | NEW - Cut lines
Detail Reference | DETAIL-MATCH | 255255255 | White | Detail matchlines | ALL | MATCHLINE, MATCH | NEW - Matchlines
Detail Reference | DETAIL-KEYNOTE | 255228181 | Moccasin | Keynote tags | ALL | KEYNOTE, TAG | NEW - Keynote tags
Detail Reference | DETAIL-GRID | 128128128 | Gray | Detail grid lines | ALL | GRID, REFERENCE | NEW - Grid lines
Detail Reference | DETAIL-CALLOUT | 255228181 | Moccasin | Detail callout bubbles (general) | ALL | CALLOUT, BUBBLE | NEW - General callouts
Detail Reference | SECTION-CUT | 255,140,0 | Dark Orange | Section cut lines | ALL | X-SEC, SECTION | Section cuts
Miscellaneous | LEGEND | 255255255 | White | Legend information | N/A | LEGEND, KEY | Legend information
Miscellaneous | SCHEDULE | 255255255 | White | Schedules/tables | N/A | SCHEDULE, TABLE | Schedules/tables
Miscellaneous | HATCH-EXISTING | 100200255 | Light Blue | Existing hatches | N/A | HATCH, EXIST | Existing hatches
Miscellaneous | HATCH-PROPOSED | 255200100 | Light Orange | Proposed hatches | N/A | HATCH, PROP | Proposed hatches
Miscellaneous | HATCH-DEMOLITION | 255100100 | Light Red | Demolition hatches | N/A | HATCH, DEMO | Demolition hatches
Miscellaneous | PATTERN-CONCRETE | 192192192 | Silver | Concrete pattern | N/A | CONC, PATTERN | Concrete pattern
Miscellaneous | PATTERN-ASPHALT | 128128128 | Gray | Asphalt pattern | N/A | AC, ASPH, PATTERN | Asphalt pattern
Miscellaneous | PATTERN-GRAVEL | 160160160 | Light Gray | Gravel pattern | N/A | GRAVEL, PATTERN | Gravel pattern
Miscellaneous | PATTERN-SOIL | 139,90,43 | Brown | Soil pattern | N/A | SOIL, PATTERN | Soil pattern
Miscellaneous | NORTH-ARROW | 255255255 | White | North arrows | N/A | NORTH, ARROW | North arrows
Miscellaneous | SCALE-BAR | 255255255 | White | Scale bars | N/A | SCALE, BAR | Scale bars
Miscellaneous | REVISION-CLOUD | 255,0,0 | Red | Revision clouds | N/A | REVISION, CLOUD | Revision clouds
Miscellaneous | REVISION-TRIANGLE | 255,0,0 | Red | Revision triangles | N/A | REVISION, DELTA | Revision triangles
Miscellaneous | BENCHMARK-SYMBOL | 138,43,226 | Blue Violet | Benchmark symbols | N/A | BM, SYMBOL | Benchmark symbols
Miscellaneous | GRAPHIC | 255255255 | White | General graphics | N/A | GRAPHIC, IMAGE | General graphics
Zoning | ZONE-BOUNDARY | 138,43,226 | Blue Violet | Zoning boundaries | N/A | ZONE, BOUNDARY | Zoning boundaries
Zoning | ZONE-LABEL | 176224230 | Powder Blue | Zoning labels | N/A | ZONE, LABEL | Zoning labels
Zoning | ZONE-SETBACK | 147112219 | Medium Purple | Setback lines | N/A | SETBACK, SB | Setback lines
Zoning | ZONE-HEIGHT-LIMIT | 147112219 | Medium Purple | Height limit planes | N/A | HEIGHT LIMIT, HL | Height limit planes
Zoning | ZONE-PARKING-COUNT | 176224230 | Powder Blue | Parking calculations | N/A | PARKING COUNT, PKG | Parking calculations
Zoning | ZONE-FAR | 176224230 | Powder Blue | Floor area ratio | N/A | FAR, FLOOR AREA | Floor area ratio
Zoning | ZONE-COVERAGE | 147112219 | Medium Purple | Building coverage | N/A | COVERAGE, BC | Building coverage
Specialty Aviation | E-AIRP-RUNWAY | 191255 | Deep Sky Blue | Existing runway | N/A | RWY, RUNWAY | Existing runway
Specialty Aviation | P-AIRP-RUNWAY | 255,140,0 | Dark Orange | Proposed runway | N/A | RWY, RUNWAY | Proposed runway
Specialty Aviation | E-AIRP-TAXIWAY | 100200255 | Light Blue | Existing taxiway | N/A | TWY, TAXIWAY | Existing taxiway
Specialty Aviation | P-AIRP-TAXIWAY | 255200100 | Light Orange | Proposed taxiway | N/A | TWY, TAXIWAY | Proposed taxiway
Specialty Aviation | AIRP-MARKING | 255,255,0 | Yellow | Pavement markings | N/A | MARKING, AIRFIELD | Airfield pavement markings
Specialty Aviation | AIRP-LIGHT | 255,20,147 | Deep Pink | Airfield lighting | N/A | LIGHT, AIRFIELD | Airfield lighting
Specialty Rail | E-RAIL-TRACK | 191255 | Deep Sky Blue | Existing rail track | N/A | TRACK, RAIL | Existing rail track
Specialty Rail | P-RAIL-TRACK | 255,140,0 | Dark Orange | Proposed rail track | N/A | TRACK, RAIL | Proposed rail track
Specialty Rail | E-RAIL-CROSSING | 123104238 | Medium Slate Blue | Existing crossings | N/A | XING, RAIL XING | Existing crossings
Specialty Rail | P-RAIL-CROSSING | 255,99,71 | Tomato | Proposed crossings | N/A | XING, RAIL XING | Proposed crossings
Specialty Rail | RAIL-SIGNAL | 255105180 | Hot Pink | Rail signals | N/A | SIGNAL, RAIL | Rail signals
Specialty Marine | E-MAR-PIER | 123104238 | Medium Slate Blue | Existing piers | N/A | PIER, WHARF | Existing piers
Specialty Marine | P-MAR-PIER | 255,99,71 | Tomato | Proposed piers | N/A | PIER, WHARF | Proposed piers
Specialty Marine | E-MAR-DOCK | 123104238 | Medium Slate Blue | Existing docks | N/A | DOCK, MARINA | Existing docks
Specialty Marine | P-MAR-DOCK | 255,99,71 | Tomato | Proposed docks | N/A | DOCK, MARINA | Proposed docks
Specialty Marine | MAR-WATER-DEPTH | 255255 | Cyan | Water depth contours | N/A | DEPTH, BATHYMETRY | Water depth contours
Specialty Marine | MAR-NAVIGATION | 176224230 | Powder Blue | Navigation lines | N/A | NAV, NAVIGATION | Navigation lines